## Slide 1: Research & Development Group
Is Water Viable Energy Resource?
Renewable Energy Feasibility Study
Prepared By: Ryan Downer

## Slide 2: AGENDA
Introduction
Energy Resources

## Slide 3: Renewable Energy Sources

## Slide 4: Energy Resources

## Slide 5: Renewable vs Non-Renewable Sources

## Slide 6: The Ultimate Renewable Energy Source?
Abundance
Easily availiable and accessible
Efficient
Environmentally Friendly

## Slide 7: First Ionization Energy Animosity

## Slide 8: HYDRO-OXY Cycle
𝐖𝐚𝐭𝐞𝐫 [〖 𝑯〗_𝟐 𝑶]
𝑯𝑯𝑶 [𝟐〖 𝑯〗_𝟐 " + " 𝑶_𝟐 ]
Industrial Processes
Combustion
Re-Combination
Aluminium Reduction
Water Hydrolysis
High Purity Water
Fuel Cell
Hydro-Carbon/Ammonia Reformation
Distilled
De-Ionized
HV Disassociation
Hydro-Oxy Gas
Browns Gas
HHO Gas
Stoichiometrically Balanced
Industrial Processes
Combustion
Re-Combination
Aluminium Reduction
Water Hydrolysis
High Purity Water
Fuel Cell
Hydro-Carbon/Ammonia Reformation
Distilled
De-Ionized
HV Disassociation
Hydro-Oxy Gas
Browns Gas
HHO Gas
Stoichiometrically Balanced

## Slide 9: Fuel Cell Basics

## Slide 10: How Direct Fuel Cell Works

## Slide 11: FuelCell Energy 1.4 MEGAWATTS FC1500 Plant
Technical Specifications

## Slide 12: FuelCell Energy
1.4 MEGAWATTS FC1500 Plant

## Slide 13: 1.4 MEGAWATTS FC1500 Plant KEY FEATURES:
ADVANTAGES
The DFC1500™ stationary fuel cell power plant from FuelCell Energy provides high-quality, Ultra-Clean electrical power with 47% efficiency around-the-clock. Designed for commercial and industrial applications, the system offers easy transport, quiet and reliable operation, and simple site planning and regulatory approval. The DFC1500 is ideal for wastewater treatment plants, manufacturing, food and beverage processing, universities and office campuses.
High Efficiency
Low Environmental Impact
Fuel Flexibility
High Reliability
Quiet Operation

## Slide 14: PERFORMANCE COMPARISON: Gross Power Output
Gross Power Output | DFC300 | DFC1500 | DFC3000
Power @ Plant Rating |  | 1,400 kW | 
Standard Output AC voltage |  | 480 V | 
Standard Frequency |  | 60 Hz | 
Optional Output AC Voltages |  | By Request | 
Optional Output Frequency |  | 50 Hz | 
Efficiency (LHV) |  | 47 +/- 2 % | 

## Slide 15: PERFORMANCE COMPARISON (Con’ted): Available Heat
Available Heat | DFC300 | DFC1500 | DFC3000
Exhaust Temperature |  | 700 +/- 50 ºF | 
Exhaust Flow |  | 18,300 lb/h | 
Allowable Backpressure |  | 5 iwc | 
Heat Energy Available for Recovery |  |  | 
(to 250 ºF) |  | 2,216,000 Btu/h | 
(to 120 ºF) |  | 3,730,000 Btu/h | 

## Slide 16: [Section Heading]

## Slide 17: THE END
Thank You!