## Slide 1: Premier ICT Consulting
BioGas & Natural Gas Hybrid 37MW Base Load Fuel Cell Park Project
Renewable Energy Feasibility Study
Prepared By: Ryan Downer

## Slide 2: Renewable Energy Sources

## Slide 3: Energy Resources

## Slide 4: Renewable vs Non-Renewable Sources

## Slide 5: The Ultimate Renewable Energy Source?
Abundance
Easily availiable and accessible
Efficient
Environmentally Friendly

## Slide 6: First Ionization Energy

## Slide 7: How Direct Fuel Cell Works

## Slide 8: Fuel Cell Basics

## Slide 9: FuelCell Energy 1.4 MEGAWATTS FC1500 Plant
Technical Specifications

## Slide 10: FuelCell Energy
1.4 MEGAWATTS FC1500 Plant

## Slide 11: 1.4 MEGAWATTS FC1500 Plant KEY FEATURES:
High Efficiency
Low Environmental Impact
Fuel Flexibility
High Reliability
Quiet Operation
ADVANTAGES
The DFC1500™ stationary fuel cell power plant from FuelCell Energy provides high-quality, Ultra-Clean electrical power with 47% efficiency around-the-clock. Designed for commercial and industrial applications, the system offers easy transport, quiet and reliable operation, and simple site planning and regulatory approval. The DFC1500 is ideal for wastewater treatment plants, manufacturing, food and beverage processing, universities and office campuses.

## Slide 12: PERFORMANCE COMPARISON: Gross Power Output
Gross Power Output | DFC300 | DFC1500 | DFC3000
Power @ Plant Rating |  | 1,400 kW | 
Standard Output AC voltage |  | 480 V | 
Standard Frequency |  | 60 Hz | 
Optional Output AC Voltages |  | By Request | 
Optional Output Frequency |  | 50 Hz | 
Efficiency (LHV) |  | 47 +/- 2 % | 

## Slide 13: PERFORMANCE COMPARISON (Con’ted): Available Heat
Available Heat | DFC300 | DFC1500 | DFC3000
Exhaust Temperature |  | 700 +/- 50 ºF | 
Exhaust Flow |  | 18,300 lb/h | 
Allowable Backpressure |  | 5 iwc | 
Heat Energy Available for Recovery |  |  | 
(to 250 ºF) |  | 2,216,000 Btu/h | 
(to 120 ºF) |  | 3,730,000 Btu/h | 

## Slide 14: [Section Heading]

## Slide 15: THE END
Thank You!